## Slide 1
PERFUSION CASE STUDY
AVR with ascending aortic replacement
Subaortic membrane resection, moderate hypothermia and antegrade cerebral perfusion
De-identified educational reconstruction
Reported case data; verify against the operative and perfusion records

## Slide 2
Abstract
A complex open aortic operation required protection before sternotomy and staged redistribution of flow.
Case
Combined mechanical aortic valve replacement, ascending aortic grafting and subaortic membrane resection. Femoral and axillary cannulation enabled CPB cooling to 28 °C before the chest incision.
Result
Reported separation from bypass was successful. CPB time was 100 minutes, aortic cross-clamp time 55 minutes and circulatory arrest time 20 minutes.
Central lesson
Peripheral access created a controlled path to cooling, cerebral protection and definitive repair.
2

## Slide 3
What is known — and what still needs chart verification
Reported in the case narrative
Dual femoral + axillary cannulation
Full CPB flow reported as 4.0 L/min
Cooling to 28 °C before skin incision
Three field suckers increased to ~1 L/min each
1 L retrograde cardioplegia
Successful wean; 100 / 55 / 20 min endpoints
Do not infer without the source record
Patient demographics, diagnosis and redo status
Cannula sizes, exact sites and line configuration
Drug doses, timing, ACT and heparin concentration
ACP pressure, flow, temperature and laterality
Blood loss, transfusion, neurologic and renal outcomes
Meaning and duration of “zero cerebral flow”
3

## Slide 4
Three lesions were addressed through one arrested-heart strategy
01
Aortic valve
Mechanical AVR restores competent valvular outflow. Mechanical prostheses generally require lifelong vitamin K antagonist anticoagulation.
02
Ascending aorta
The diseased ascending segment is excised and replaced with a vascular graft; distal work may require an open field and circulatory arrest.
03
Subaortic membrane
A fixed fibrous ridge below the valve is removed through the aortic route to relieve LV outflow tract obstruction; recurrence surveillance remains important.
Background: 2021 ESC/EACTS valve guideline; 2022 ACC/AHA aortic guideline; subaortic stenosis literature.
4

## Slide 5
Circulatory arrest trades operative access for time-limited ischemic risk
Stopping systemic flow creates a bloodless field for open distal aortic reconstruction. Protection depends on lowering metabolic demand and maintaining cerebral perfusion whenever anatomy permits.
28 °C
moderate hypothermia target reported in this case
Protection stack
Systemic cooling before arrest
Antegrade cerebral perfusion (ACP)
Neuromonitoring and pressure/flow targets per protocol
Shortest feasible no-flow intervals
Guideline context: 2022 ACC/AHA Aortic Disease; 2024 EACTS/EACTAIC/EBCP CPB.
5

## Slide 6
Femoral access supported systemic CPB; axillary access enabled antegrade brain flow
Femoral cannulation
Rapid peripheral route for venous drainage and/or systemic arterial return, depending on the documented configuration.
Primary role in this case
Whole-body bypass and cooling
Axillary cannulation
Antegrade arterial access that can continue directed cerebral perfusion when distal systemic flow is stopped.
Primary role in this case
ACP during aortic reconstruction
dual arterial strategy
Cannulation strategy must be individualized to anatomy, urgency and the operative plan.
6

## Slide 7
Bypass and cooling were established before the sternotomy
1
Cannulate
Femoral and axillary access established before chest incision.
2
Anticoagulate
Systemic heparinization before CPB; verify ACT and dose in record.
3
Initiate CPB
Advance to reported full flow of 4.0 L/min. Adequacy cannot be indexed without BSA.
4
Cool
Core temperature reduced to 28 °C before skin incision.
Reported adjuncts: TXA, albumin and mannitol. Their exact dose, timing and whether albumin/mannitol were in the prime require verification.
2024 CPB guideline: routine mannitol in the prime is not recommended; document the case-specific indication.
7

## Slide 8
Sternotomy converted the plan from controlled cooling to active blood conservation
Trigger
After skin incision and median sternotomy, bleeding increased once the chest was opened.
The narrative does not identify the source, total blood loss or transfusion response.
Perfusion response
3
field suckers
~1 L/min each
Reported maximum suction setting; actual recovered volume is not given.
8

## Slide 9
Myocardial arrest preceded selective brain-only perfusion
Cross-clamp
Aortic cross-clamp applied
Cardioplegia
1 L retrograde dose reported
ACP
Systemic flow reduced to brain-only antegrade perfusion
Sequence is reconstructed from the supplied narrative; confirm whether cardioplegia redosing, topical cooling or root venting occurred.
9

## Slide 10
Aortic grafting required a brief interruption of cerebral flow
Ascending graft
The ascending aorta was opened/resected and reconstructed with a vascular graft under arrest with ACP.
Right subclavian base
The narrative reports “zero cerebral flow” during repair at the base of the right subclavian artery.
Interpret as a brief no-ACP interval; exact duration is not provided.
Flow restored
After completion of the critical distal repair, perfusion returned from selective cerebral flow to full-body flow.
Reported total circulatory arrest time: 20 minutes. Do not equate this automatically with 20 minutes of no cerebral flow.
10

## Slide 11
Full-body perfusion supported valve replacement, rewarming and separation from CPB
1
Restore systemic flow
2
Resect subaortic membrane
3
Implant mechanical aortic valve
4
Rewarm and de-air
5
Wean successfully
Case endpoint
Successful separation from bypass was reported; postoperative support, transfusion and organ outcomes were not supplied.
11

## Slide 12
The operative timeline concentrated risk into a 20-minute arrest window
TOTAL CPB
100 min
Clamp
55
min
Arrest
20
min
Cannulation → full flow → cooling → incision/sternotomy → clamp/cardioplegia → ACP/arrest → graft repair → full-body flow → AVR → wean
Exact event timestamps were not provided; the sequence is shown without invented offsets.
12

## Slide 13
The reported endpoints show efficient separation despite complex flow transitions
CARDIOPULMONARY BYPASS
100 min
AORTIC CROSS-CLAMP
55 min
CIRCULATORY ARREST
20 min
Key perfusion lesson
Peripheral cannulation before incision created a margin for controlled cooling, while axillary access preserved an antegrade cerebral route during open aortic work.
13

## Slide 14
References and case-use note
Authoritative background sources
Wahba A, et al. 2024 EACTS/EACTAIC/EBCP Guidelines on cardiopulmonary bypass in adult cardiac surgery. Eur J Cardiothorac Surg. 2025;67:ezae354.
Isselbacher EM, et al. 2022 ACC/AHA Guideline for the Diagnosis and Management of Aortic Disease. J Am Coll Cardiol. 2022.
Vahanian A, et al. 2021 ESC/EACTS Guidelines for the management of valvular heart disease. Eur Heart J. 2022;43:561–632.
Etnel JRG, et al. Surgical literature on discrete subaortic stenosis/membrane resection and recurrence surveillance.
Educational case reconstruction only. Verify all patient-specific facts, doses, flows, temperatures and outcomes against the official operative, anesthesia and perfusion records before presentation or clinical use.
14